## Read First
Please read the following instructions before completing the Template
1. Does the format in which the data is pasted into the Excel template matter?
Yes, the format in which the data is pasted into the template does matter. Please check the following before uploading your data to the portal:
• That the data is pasted into the correct fields
• That the units used are the same as the ones available in the pull-down options. Please note: the dropdown fields are case sensitive
• That the pasted data does not contain any embedded formulas
• Row 9 of the Excel Template is an example row only and will not be included in your benchmarked data. Please DO NOT delete this example row or any of the rows above this.
You will receive an error message if data is pasted into the wrong column or with formulas, or pasted units are not the same as the ones available in the pull-down menus.
2. Why are the units of measurement that I entered into the excel template invalid?
Users must select the unit of measurement in the template from the pull down options. Any custom units entered will be considered invalid.
3. Why do the totals for GHG Emissions and Energy Intensity not calculate automatically on the excel template?
The GHG Emissions and Energy Intensity values will calculate automatically once you have completed the data validation process. You do not need to finalize the data for these values to calculate. After the data validation process, you can download the spreadsheet with GHG Emissions and Energy Intensity data via the “Excel template” button on the reporting portal.
Note: that there are no macros functions in this year’s templates.
NOTE: Please DO NOT close the browser window during the downloading / uploading of the data. DO NOT move away from the page or close the browser.
Should you have any additional questions, please visit the Toolkit located on the reporting portal under the “Toolkit” tab on the homepage.
Otherwise, please feel free to contact us at BPSSupport@ontario.ca

## Submission Data
Press TAB to move to input areas. Press UP or DOWN ARROW in column A to read through the document. | Energy Consumption and Greenhouse Gas Emissions Reporting - for 2012 | [32 empty] | Operation Type | FloorArea | Electricity | NaturalGas | FuelOil12 | FuelOil46 | Propane | Coal | Wood | DistrictHeating | DistrictCooling | Renewable
Confirm consecutive 12-mth period (mth-yr to mth-yr) | 2012 | [32 empty] | Facilities used for hospital purposes | Square feet | kWh | Cubic Meter | Litre | Litre | Litre | Metric Tonne | Metric Tonne | Metric Tonne | Giga Joule | Yes
Sector | Public Hospital | [32 empty] | Administrative offices and related facilities | Square meters |  | Giga Joule | [5 empty] | Giga Joule | KL Chilled Water | No
Agency Sub-sector | Acute/Chronic | [32 empty] | Other |  |  | ekWh | [5 empty] | KL Hot Water
Organization Name | The Ottawa Hospital | Please fill in the mandatory fields indicated in red, in addition to submitting data on your energy usage.
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Avg hrs/wk | Energy Type and Amount Purchased and Consumed in Natural Units | [21 empty] | Total (calculated in webform)
[8 empty] | Electricity |  | Natural Gas |  | Fuel Oil 1 & 2 |  | Fuel Oil 4 & 6 |  | Propane |  | Coal |  | Wood |  | District Heating |  |  |  | District Cooling |  |  |  | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft) | Building / Operation Identifier | Comments
[8 empty] | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Renewable? | If Yes, enter Emission Factor | Quantity | Unit | Renewable? | If Yes, enter Emission Factor
Stephenson Building | Administrative offices and related facilities | 2160 Yonge Street | Toronto | M7A 2G5 | 135034 | Square meters | 70 | 2181065 | kWh | 125300 | Cubic meter |  | Litre |  | Litre |  | Litre |  | Metric Tonne |  | Metric Tonne | 26.73 | Giga Joule | No | 0 | 20.506 | Giga Joule | No | 0 |  |  |  | max. 255 characters
The Ottawa Hospital - Civic site | Facilities used for hospital purposes | 1053 Carling Ave. | Ottawa | K1Y 4E9 | 155589 | Square meters | 168 | 43540680 | kWh | 7039749 | Cubic Meter | 60000 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 17655295.7998 | 71.058 | Acute care
The Ottawa Hospital - General site | Facilities used for hospital purposes | 501 Smyth Rd. | Ottawa | K1H 8L6 | 162885 | Square meters | 168 | 57079330 | kWh | 2532839 | Cubic Meter | 35000 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 10366283.1133 | 48.1241 | Acute care | This site imports thermal energy (steam and MTHW) from a cogen, it also consumes gas for other buildings.
The Ottawa Hospital - Riverside site | Facilities used for hospital purposes | 1967 Riverside dr. | Ottawa | K1H 7W9 | 25534 | Square meters | 108 | 5831848 | kWh | 1019891 | Cubic Meter | 15000 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2529351.4836 | 61.2441 | Acute care
The Ottawa Hospital - Vanier site | Administrative offices and related facilities | 311 McArthur Ave. | Ottawa | K1L 8M3 | 47345 | Square feet | 84 | 1062955 | kWh | 35707 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 169594.8165 | 30.4666 | Adminstrative